{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":17,"n_cols":15,"rows_kept":17,"cut":false,"hidden":false,"merged":[[1,2,1,3],[1,4,1,5],[1,6,1,9],[1,10,2,10],[2,2,2,3],[2,4,2,5]]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Курс Euro",{"$f":"NBUCURRENCY(\"EUR\",\"rate\",TODAY())","v":32.058238000000003}]
["Корпус","Код","Расход",null,"Максимальное",null,"Габариты",null,null,null,"Вес","Элемент","Цена в","Цена в"]
["Фильтра",null,"7 bar(g), 20 C",null,"Рабочее давление",null," "," ",null," ",null,"Фильтра","EURO","ГРН"]
[null," ","Nm3/h","SCFM","Bar","Psi","A","B","C","D","kG"," "," "," "]
["F 005 W","CC1177720",60,35,16,232," 187","88 ",20,60,0.7,"CC1188141",{"$f":"VLOOKUP(B5,Champion_Cost,7,FALSE)","v":94},{"$f":"M5*$O$1","v":3013.4743720000001}]
["F 007 W","CC1177721",78,46,16,232," 187","88 ",20,60,0.7,"CC1188142",104,{"$f":"M6*$O$1","v":3334.0567520000004}]
["F 010 W","223101A",120,70,16,232,257,"88 ",20,80,0.8,"CC1183037",120,3846.9885600000002]
["F 030 W","223102A",198,116,16,232,263,125,32,100,1.8,"CC1183038",162,5193.4345560000002]
["F 070 W","223103A",510,300,16,232,461,125,32,140,2.5,"CC1183039",202,6475.7640760000004]
["F 094 W","CC1181853 ",1000,588,16,232,684,163,43,520,5.0999999999999996,"CC1183040",442,14169.741196000001]
["F 150 W","223104A",1500,882,16,232,684,163,43,520,5.0999999999999996,"CC1183041",518,16606.167284000003]
["F 200 W","CC1182432",2160,1270,16,232,795,240,59,630,12.9,"CC1183042",1066,34174.081708000005]
[]
["Цены рассчитаны на условиях:"]
["1. Условия поставки - EXW, г. Киев."]
["2. Пусконаладка оборудования не включена."]
["3. Включена стандартная гарантия на оборудование 12 месяцев."]