{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":68,"n_cols":14,"rows_kept":68,"cut":false,"hidden":false,"merged":[]}
["Серия A-DRY",null,null,null,null,null,null,null,"Курс Euro",{"$f":"NBUCURRENCY(\"EUR\",\"rate\",TODAY())","v":31.925346999999999}]
["Модель","Код","Вход/ выход","M3/h вход","M3/h выход","Габариты (Max)","вес, kG","Цена в (Euro)","Цена в (Грн)"]
["CHA-DRY 06","CC1148763","G3/8\"",6,4.7,"480x130x520",10.5,1538,{"$f":"H3*$J$1","v":49101.183685999997}]
["CHA-DRY 12","CC1148765","G3/8\"",12,9.5,"480x130x715",13.5,1696,{"$f":"H4*$J$1","v":54145.388511999998}]
["CHA-DRY 24","CC1148766","G3/8\"",24,19,"480x130x1105",19,2038,65063.857185999994]
["CHA-DRY 36","CC1148767","G3/8\"",36,28.4,"480x130x1495",27.5,2424,77387.041127999997]
["CHA-DRY 60","CC1148768","G3/4\"",60,47.4,"570x170x1105",45,2750,87794.704249999995]
["CHA-DRY 75","CC1148769","G3/4\"",75,59.3,"570x170x1300",53,3022,96478.398633999997]
["CHA-DRY 105","CC1148770","G3/4\"",117,83,"570x240x1700",70,3462,110525.551314]
["CHA-DRY 150","CC1148771","G1\"",150,118,"725x240x1440",170.5,4904,156561.90168799998]
["CHA-DRY 200","CC1148772","G1\"",200,158,"725x130x1655",182.2,5250,167608.07175]
[]
["Серия B-DRY "]
["Модель","Код","Вход/ выход","M3/h вход","M3/h выход","Габариты (Max)","вес, kG","Цена в (Euro)","Цена в (Грн)"]
["CHB-DRY 110","CC1148781","G1\"",110,86,"719x422x1647",140,5856,{"$f":"H15*$J$1","v":186954.83203200001}]
["CHB-DRY 150","CC1148782","G1\"",150,117.5,"707x422x1897",156,6254,199661.120138]
["CHB-DRY 200","CC1148783","G1\"",200,157,"707x471x1664",196,6614,211154.245058]
["CHB-DRY 250","CC1148784","G1\"",260,204,"707x471x1914",236,8562,273344.82101399999]
["CHB-DRY 300","CC1148785","G1 1/2\"",320,251,"860x535x1742",274,9412,300481.365964]
["CHB-DRY 400","CC1148786","G1 1/2\"",410,321.5,"854x535x1989",295,10306,329022.62618199998]
["CHB-DRY 600","CC1148787","G1 1/2\"",590,462.5,"854x671x2051",392,12556,400854.65693199995]
["CHB-DRY 800","CC1148788","G2\"",770,603.5,"1051x701x2080",507,14352,458192.58014400001]
["CHB-DRY 1000","CC1148789","G2\"",1000,784,"1051x701x2140",597,16716,533664.10045199993]
[]
["Серия X-DRY"]
["Модель","Код","Вход/ выход","M3/h вход","M3/h выход","Габариты (Max)","вес, kG","Цена в (Euro)","Цена в (Грн)"]
["CHX-DRY 300","CC1148774","G2\"",300,237,"674x686x1515",350,13360,{"$f":"H27*$J$1","v":426522.63591999997}]
["CHX-DRY 450","CC1148775","G2\"",450,255.5,"674x886x1515",520,17554,560417.54123799992]
["CHX-DRY 600","CC1148776","G2\"",600,474,"674x1086x1515",690,21746,694248.59586200002]
["CHX-DRY 750","CC1148778","G2\"",750,592.5,"674x1286x1515",860,25994,829867.46991799993]
["CHX-DRY 900","CC1148779","G2\"",900,711,"674x1486x1515",1030,30128,961846.85441599996]
["CHX-DRY 1050","CC1148780","G2\"",1050,829.5,"674x1686x1515",1200,34316,1095550.207652]
[]
[]
["Цены рассчитаны на условиях:"]
["1. Условия поставки - EXW, г. Киев."]
["2. Пусконаладка оборудования не включена."]
["3. Включена стандартная гарантия на оборудование 12 месяцев."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["F 150 W","223104A",1500,882,16,232,684,163,43,520,5.0999999999999996,"CC1183041",{"$f":"VLOOKUP(B62,Champion_Cost,7,FALSE)","v":518}]
["F 200 W","CC1182432",2160,1270,16,232,795,240,59,630,12.9,"CC1183042",1066,{"$f":"M63*$J$1","v":34032.419902000001}]
[]
["Цены рассчитаны на условиях:"]
["1. Условия поставки - EXW, г. Киев."]
["2. Пусконаладка оборудования не включена."]
["3. Включена стандартная гарантия на оборудование 12 месяцев."]