{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Лист1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Лист1","index":0,"n_rows":77,"n_cols":15,"rows_kept":77,"cut":false,"hidden":false,"merged":[[1,2,1,3],[1,4,1,5],[1,6,1,9],[1,10,2,10],[2,2,2,3],[2,4,2,5]]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Курс Euro",{"$f":"NBUCURRENCY(\"EUR\",\"rate\",TODAY())","v":32.058238000000003}]
["Корпус","Код","Расход",null,"Максимальное",null,"Габариты",null,null,null,"Вес","Элемент","Цена в ","Цена в"]
["Фильтра",null,"7 bar(g), 20 C",null,"рабочее давление",null," "," ",null," ",null,"фильтра","EURO","ГРН"]
[null," ","Nm3/h","SCFM","Bar","Psi","A","B","C","D","kG"," "," "," "]
["F 005 P","223051A",60,35,16,232," 187","88 ",20,60,0.7,223171,{"$f":"VLOOKUP(B5,Champion_Cost,7,FALSE)","v":88},{"$f":"M5*$O$1","v":2821.1249440000001}]
["F 007 P","223052A",78,46,16,232," 187","88 ",20,60,0.7,223172,92,{"$f":"M6*$O$1","v":2949.3578960000004}]
["F 010 P","223053A",120,70,16,232,257,"88 ",20,80,0.8,223173,106,3398.1732280000001]
["F 018 P","223054A",198,116,16,232,263,125,32,100,1.8,223174,142,4552.2697960000005]
["F 030 P","223055A",335,197,16,232,363,125,32,120,2.5,223175,162,5193.4345560000002]
["F 047 P","223056A",510,300,16,232,461,125,32,140,2.5,223176,188,6026.9487440000003]
["F 070 P","223057A",780,459,16,232,640,125,32,160,3.2,223177,238,7629.8606440000003]
["F 094 P","223058A ",1000,588,16,232,684,163,43,520,5.0999999999999996,223178,360,11540.965680000001]
["F 150 P","223059A",1500,882,16,232,935,163,43,770,7.1,223179,516,16542.050808]
["F 200 P","CC1182427",2160,1270,16,232,795,240,59,630,12.9,"CC1183012",808,25903.056304000002]
["F 240 P","223060A",2760,1620,16,232,1000,240,59,780,14,223180,954,30583.559052000004]
[]
["F 005 R","CC1185088",60,35,16,232," 187","88 ",20,60,0.7,"CC1185073",{"$f":"VLOOKUP(B17,Champion_Cost,7,FALSE)","v":88},2821.1249440000001]
["F 007 R","CC1185089",78,46,16,232," 187","88 ",20,60,0.7,"CC1185074",92,2949.3578960000004]
["F 010 R","CC1185090",120,70,16,232,257,"88 ",20,80,0.8,"CC1185075",106,3398.1732280000001]
["F 018 R","CC1185091",198,116,16,232,263,125,32,100,1.8,"CC1185076",142,4552.2697960000005]
["F 030 R","CC1185092",335,197,16,232,363,125,32,120,2.5,"CC1185077",162,5193.4345560000002]
["F 047 R","CC1185093",510,300,16,232,461,125,32,140,2.5,"CC1185078",188,6026.9487440000003]
["F 070 R","CC1185094",780,459,16,232,640,125,32,160,3.2,"CC1185079",238,7629.8606440000003]
["F 094 R","CC1185095",1000,588,16,232,684,163,43,520,5.0999999999999996,"CC1185080",360,11540.965680000001]
["F 150 R","CC1185096",1500,882,16,232,935,163,43,770,7.1,"CC1185081",516,16542.050808]
["F 200 R","CC1185097",2160,1270,16,232,795,240,59,630,12.9,"CC1185082",808,25903.056304000002]
["F 240 R","CC1185098",2760,1620,16,232,1000,240,59,780,14,"CC1185083",954,30583.559052000004]
[]
["F 005 M","223061A",60,35,16,232," 187","88 ",20,60,0.7,223181,{"$f":"VLOOKUP(B29,Champion_Cost,7,FALSE)","v":88},2821.1249440000001]
["F 007 M","223062A",78,46,16,232," 187","88 ",20,60,0.7,223182,92,2949.3578960000004]
["F 010 M","223063A",120,70,16,232,257,"88 ",20,80,0.8,223183,106,3398.1732280000001]
["F 018 M","223065A",198,116,16,232,263,125,32,100,1.8,223184,142,4552.2697960000005]
["F 030 M","223066A",335,197,16,232,363,125,32,120,2.5,223185,162,5193.4345560000002]
["F 047 M","223067A",510,300,16,232,461,125,32,140,2.5,223186,188,6026.9487440000003]
["F 070 M","223068A",780,459,16,232,640,125,32,160,3.2,223187,238,7629.8606440000003]
["F 094 M","223069A",1000,588,16,232,684,163,43,520,5.0999999999999996,223188,360,11540.965680000001]
["F 150 M","223081A",1500,882,16,232,935,163,43,770,7.1,223189,516,16542.050808]
["F 200 M","CC1182428",2160,1270,16,232,795,240,59,630,12.9,"CC1183034",808,25903.056304000002]
["F 240 M","223064A",2760,1620,16,232,1000,240,59,780,14,223190,954,30583.559052000004]
[]
["F 005 M","223061A",60,35,16,232," 187","88 ",20,60,0.7,223181,{"$f":"VLOOKUP(B41,Champion_Cost,7,FALSE)","v":88},2821.1249440000001]
["F 007 M","223062A",78,46,16,232," 187","88 ",20,60,0.7,223182,92,2949.3578960000004]
["F 010 M","223063A",120,70,16,232,257,"88 ",20,80,0.8,223183,106,3398.1732280000001]
["F 018 M","223065A",198,116,16,232,263,125,32,100,1.8,223184,142,4552.2697960000005]
["F 030 M","223066A",335,197,16,232,363,125,32,120,2.5,223185,162,5193.4345560000002]
["F 047 M","223067A",510,300,16,232,461,125,32,140,2.5,223186,188,6026.9487440000003]
["F 070 M","223068A",780,459,16,232,640,125,32,160,3.2,223187,238,7629.8606440000003]
["F 094 M","223069A",1000,588,16,232,684,163,43,520,5.0999999999999996,223188,360,11540.965680000001]
["F 150 M","223081A",1500,882,16,232,935,163,43,770,7.1,223189,516,16542.050808]
["F 200 M","CC1182428",2160,1270,16,232,795,240,59,630,12.9,"CC1183034",808,25903.056304000002]
["F 240 M","223064A",2760,1620,16,232,1000,240,59,780,14,223190,954,30583.559052000004]
[]
["F 005 A","223090A",60,35,16,232," 187","88 ",20,60,0.7,223211,{"$f":"VLOOKUP(B53,Champion_Cost,7,FALSE)","v":88},2821.1249440000001]
["F 007 A","223091A",78,46,16,232," 187","88 ",20,60,0.7,223212,92,2949.3578960000004]
["F 010 A","223092A",120,70,16,232,257,"88 ",20,80,0.8,223213,106,3398.1732280000001]
["F 018 A","223093A",198,116,16,232,263,125,32,100,1.8,223214,142,4552.2697960000005]
["F 030 A","223094A",335,197,16,232,363,125,32,120,2.5,223215,162,5193.4345560000002]
["F 047 A","223095A",510,300,16,232,461,125,32,140,2.5,223216,188,6026.9487440000003]
["F 070 A","223096A",780,459,16,232,640,125,32,160,3.2,223217,238,7629.8606440000003]
["F 094 A","223097A",1000,588,16,232,684,163,43,520,5.0999999999999996,223218,360,11540.965680000001]
["F 150 A","223098A",1500,882,16,232,935,163,43,770,7.1,223219,516,16542.050808]
["F 200 A","CC1182430",2160,1270,16,232,795,240,59,630,12.9,"CC1183036",808,25903.056304000002]
["F 240 A","223099A",2760,1620,16,232,1000,240,59,780,14,223220,954,30583.559052000004]
[]
["F 005 W","CC1177720",60,35,16,232," 187","88 ",20,60,0.7,"CC1188141",{"$f":"VLOOKUP(B65,Champion_Cost,7,FALSE)","v":94},3013.4743720000001]
["F 007 W","CC1177721",78,46,16,232," 187","88 ",20,60,0.7,"CC1188142",104,3334.0567520000004]
["F 010 W","223101A",120,70,16,232,257,"88 ",20,80,0.8,"CC1183037",120,3846.9885600000002]
["F 030 W","223102A",198,116,16,232,263,125,32,100,1.8,"CC1183038",162,5193.4345560000002]
["F 070 W","223103A",510,300,16,232,461,125,32,140,2.5,"CC1183039",202,6475.7640760000004]
["F 094 W","CC1181853 ",1000,588,16,232,684,163,43,520,5.0999999999999996,"CC1183040",442,{"$f":"M70*$O$1","v":14169.741196000001}]
["F 150 W","223104A",1500,882,16,232,684,163,43,520,5.0999999999999996,"CC1183041",518,16606.167284000003]
["F 200 W","CC1182432",2160,1270,16,232,795,240,59,630,12.9,"CC1183042",1066,34174.081708000005]
[]
["Цены рассчитаны на условиях:"]
["1. Условия поставки - EXW, г. Киев."]
["2. Пусконаладка оборудования не включена."]
["3. Включена стандартная гарантия на оборудование 12 месяцев."]